Annex to RASFF notifications related to GMO detection results

RASFF number:

Note: please compile an annex form for each sample tested

| Parameter to be reported: | Information provided: |
| --- | --- |
| Name and address of the test laboratory |  |
| Test report identification code | <<000>> |
| Laboratory sample identification code | <<000>> |
| Size of laboratory sample | X kg |
| In case of sample division: Number and size of analytical samples | X analytical samples of Y g |
| Number and size of test portions analyzed | X test portions of Y mg |
| Total DNA amount analysed | X ng/PCR |
| Detection method(s) (please fill in one box for each detection method used): | For qualitative methods: Validation status: (e.g. inter-laboratory validated, in-house validated [please indicate according to which standard, guideline]) Description of DNA sequences detected (reference + target genes): Specificity of the method (screening, construct-specific or event-specific): Limit of detection (LOD) of the method, if determined: Practical Limit of Detection (LOD related to the sample analysed), if determined: |
|  | For quantitative methods Validation status: (e.g. inter-laboratory validated, in-house validated [please indicate according to which standard, guideline]) Description of DNA sequences detected (reference + target genes): Specificity of the method (screening, construct-specific or event-specific): Limit of quantification (LOQ) of the method, if determined: Practical Limit of Quantification (LOQ related to the sample analysed), if determined: Measurement uncertainty, if determined: |
| GM event(s) detected | Please indicate also the unique identifier , if available |
| % of GM events detected, if determined | Please indicate the Unit of measurement (e.g. mass/mass, copy number) |
| Description of positive DNA target controls and reference materials | Source and nature of the positive control and reference materials (e.g. plasmid, genomic DNA, CRM …) |
| Comments |  |